INSTRUCTIONS

MODEL   EZ-FLO   50-93

MODEL   EZ-FLO   30.95

# LOCATION OF STOVE

In order to achieve maximum circulation of heat produced by the stove, it is recommended that the stove be centrally located.  Remember that the heat will rise.  Therefore, if the stove is put next to a stairwell, much of the heat will rise to the second floor before the ground floors are warm.  One should consider the construction and layout of the home to be heated and, therefore, make placement so as to achieve maximum benefit from the stove.

# CHIMNEY CONSTRUCTION AND MAINTENANCE

A good chimney is essential. This unit must be connected to either a listed type HT (2100(F) chimney per UL 103 or ULC S629 or a code approved masonry chimney with flue liner.  The chimney size should not be less than the flue outlet on the stove, or more than 3 times greater than the cross sectional area of the flue. Should you intend to use an existing chimney for your stove, make sure that it is sound and has a flue lining free from defects and corrosion. A chimney sweep should be consulted to assure there is no existing creosote or soot build up present  Should the chimney lack flue tiles or if the masonry is cracked, consult a mason about repairs or line the flue with a stainless steel flue liner.  Fire in an unlined or cracked chimney can spread into the house. The top of the chimney should be at least 3 feet higher than the roof at the point of exit.  With pitched roofs, the top of the chimney must be at least 2 feet higher than any point on the roof within 10 feet of the chimney.  Check with your local building inspectors for local building code compliances.  The ideal installation would be for the chimney to extend below the thimble with a clean out door.

The use of aluminum Type B gas vent for solid fuels in unsafe and prohibited by the National Fire Protection Association Code.

Your chimney and chimney connectors should be inspected at least twice monthly during the heating season to determine if a creosote or soot build up has occurred.  If material has accumulated, it should be removed to reduce the risk of a chimney fire.  Your chimney should be cleaned at least once a year.   REMEMBER, a clean chimney and a controlled fire will eliminate almost any chance of a chimney fire.  Above all, REMEMBER, if a chimney fire does occur, the fire department should be called immediately and the draft control on the stove closed.  DO NOT TAKE CHANCES BY LETTING THE CHIMNEY BURN ITSELF OUT.

# INSTALLATION OF STOVE

CAUTION: DO NOT CONNECT THIS UNIT TO A CHIMNEY SERVING ANOTHER APPLIANCE.

WARNING: THE INSTALLATION OF THESE STOVES MUST COMPLY WITH STATE AND LOCAL REQUIREMENTS AND BE INSPECTED BY THE STATE OR LOCAL INSPECTOR IF REQUIRED.

NOTE:  These stoves are not approved for use in mobile homes.

Floor protection must provide insulation equal to at least 3/8 fiberglass millboard and equal to or have an insulation factor or K-O-84 and must extent at least 8 inches on both sides and rear of the stove, and 16 inches in the front of ash door.

CLEARANCE TO COMBUSTIBLES            50-93 Model            30-95 Model

Stove to Back Wall	                 28”			    27”

Flue to Back Wall                        18”			    18”

Stove to Sidewall                         20”			    19”

Flue to Sidewall                           32”			    28”

Stovepipe must be at least 18 inches from combustible ceilings and or walls.

See label on stove before installation. The most important consideration in installing your stove is adequate clearance between the stove and any combustible surface.  A stove that is placed to close to a wall or to furniture can cause a fire.

Connection of the stove to the chimney should be made as directly as possible and not more than two bends when needed should be used.  No reduction in flue pipe below 6 inches in diameter should be used.  The pipe connecting the stove to the chimney should be at least 24 gauge.  Thicker gauges may be available and will resist corrosion longer and need fewer replacements.  Slope the flue pipe back towards the heater, ¼ inch per foot of horizontal run. That way if any condensation forms in the pipe it will be carried back into the heater.  The connector pipe should be installed so that the upper pipe section fits inside the lower section.  This way any condensation building up inside the pipe will stay inside the pipe as it flows down the inside surface.  Horizontal pipe runs should have the pipe seams turned up.  Particular attention should be paid to the point where the flue passes through a wall or ceiling.  This penetration should always be made with a thimble, insulated pipe, and the proper accessories following manufactures instructions.  Chimney connectors must not pass through the ceiling, concealed spaces, or enter the chimney in the attic, unless proper clearance or insulated pipe is used following manufacturers instructions.  REMEMBER that all pipe sections should be connected with at least 3 sheet metal screws per joint.  A fire in the stack may cause vibration and poorly fastened piping may come apart causing an extreme fire and smoke hazard.  Assure that the chimney connections pipe extend at least 2 inches into the chimney, but does not extend so far into the chimney flue that it blocks air flow.  Where the pipe connects to a masonry chimney, it must be cemented to the chimney, or a thimble must be connected to the chimney and the pipe should be tightly inserted into the thimble without cement.

# OPERATION YOUR E-Z FLO HEATER

CAUTION: USE ONLY THE TYPE OF FUEL SPECIFIED HERE AND ON THE HEATER

Type of fuel for use in these units is either anthracite or bituminous coal. Nut size or pea size are the recommended size of anthracite to use in this unit.  Caution should be used when burning pea coal as shaking the grates too far can cause the small coal to be dumped into the ash pan thus wasting your coal.  The Model 30-95, which has a removable hopper, will also burn bituminous coal when hopper is removed. Never place bituminous coal in the hopper. Bituminous coal does not work in the hopper feed system. It is too volatile and will burn up into the hopper possibly overheating the stove and ruining the hopper. Burning bituminous coal in the hopper will void your warranty.   Never burn it with your ash door open. This will void your warranty.  Your stove will burn out of control, causing damage to your stove and possibly to your home.

Kindling and small pieces of wood are required to use for igniting your coal when starting your fire.

CAUTION:  DO NOT USE CHEMICALS OR FLUIDS TO START FIRE.  NEVER USE GASOLINE OR KEROSENE OR ANY OTHER FLAMMABLE FLUID WHEN STARTING OR REFRESHING YOUR FIRE.  DO NOT BURN GARBAGE OR FLAMMABLE FLUIDS.

NOTE: When your first fire your heater, the exterior paint will go through a curing process.  This may emit some smoke or odor.  The first few fires should be small and slow, this allows the paint to cure and the steel to temper. Adequate room ventilation should be used in case of smoking.

NOTE: Keep ash door, glass fuel door, and hopper lid closed and sealed during operation. Keeping any door open during operation may cause your appliance to over heat and possibly result in damage to your appliance or a house fire. Operating this appliance with doors open can result in carbon monoxide entering the house. Adequate room ventilation is also necessary for the chimney to operate correctly. Room air starvation can be caused by well-sealed vapor barrier and tight windows, exhaust fans, or other chimney ventilated appliances. Room air starvation can cause your appliance to not draw steadily, smoke rollout to occur, fuel to burn poorly, or back-drafts to occur whether or not there is combustion present. It can also result in carbon monoxide not venting properly or entering the house. Outside combustion air may be required. It is a very good idea to install a carbon monoxide detector no matter what type of fuel you burn and what type of appliance you burn it in. Carbon monoxide is produced when burning gas, oil, wood, coal, and anything else that burns and any venting problems can cause it to back up into the house. Carbon monoxide is extremely dangerous and can result in serious injury or even death

Starting your fire with anthracite coal:

To start your E-Z Flo open up the automatic damper on the rear of your stove to number 10.You also need to open the slide damper in the ash door all the way.

CAUTION: BUILD FIRE ONLY ON INTEGRAL GRATE. DO NOT RAISE FIRE BY ADDING ANOTHER GRATE.

Place crumpled paper and kindling wood on grate and ignite with a match or lighter. Use a good amount of kindling wood as anthracite coal takes a hot fire to get started.  Watch your fire very closely.  When the kindling wood is burning well, spread out over grate area and add approximately 2” of coal over the entire grate area.  As the coal starts burning and glowing red add another layer of coal. Keep adding layers of coal waiting between layers for each to start burning until coal level reaches almost the hopper bottom.  Now fill your hopper and close hopper lid.

CAUTION: MAKE SURE THERE IS NO COAL OR OTHER DERBIES ON LEDGE WHERE HOPPER LID SEALS. IF HOPPER LID DOES NOT SEAL STOVE MAY OVER HEAT AND POSSIBLY DAMAGE THE STOVE OR CAUSE A HOUSE FIRE.

Adjust automatic draft control slide on the back of the stove for the amount of heat desired. This control will hold the heat output at a given amount depending on the setting. The higher the number the hotter the stove and the lower the number the lower the heat output.  Adjust control in small increments and let temperature stabilize approximately 12 hours between adjustments. Once desired temperature setting is obtained additional adjustments are unneeded unless there is large changes in the outside temperature. Close draft slide on ash door completely or it will eliminate the automatic temperature control. The slide draft may be used in the event of a chimney being lazy and having very poor draft. Opening it some will just help keep air moving through. Burn stove at the lowest setting to produce the heat you need. This will increase the life of the stove and make your coal last longer.

# REFUELING

Open the ash door and shake the grates. You should shake the grates until you see bits of red coals dropping into the ash pan the whole way along the grates. With bituminous coal clinkers can form and it may be necessary to break these up to get them to fall into the ash pan.  They may also be removed through the main glass door with metal tongs and placed in ash receptacle.  Keep your hopper full.  Should your hopper run empty add coal very slowly so you will not choke out the fire.  It is best to fill the hopper before it’s completely empty. Once or so a week, as you see some dead ash building up along the sides, take a steel poker or steel rod and poke down that dead ash before you shake the grates. This buildup happens because the ash under the hopper empties much faster because of the weight of the coal on top. In order for the sides to keep up without some help you would have to shake a lot of coal into the ash pan under the hopper

# ASHES

You must keep your ashes cleaned out from under the grates.  This may require emptying your ash pan daily.  This all depends on how hard you burn your stove and how often you shake your grates. If there is not air space under the grates the grates will warp and become inoperable. Remove and empty ash pan each time and make sure ash in pan does not contact bottom of grates as this can cause the grate to warp. If fire seems sluggish or is going out then not enough ash has been shaken out. Ashes should be placed in a metal container with a tight fitting lid.  The closed container of ashes should be placed on a noncombustible floor or on the ground, well away from all combustible materials, pending final disposal.  If the ashes are disposed of by burial in soil or otherwise locally dispersed, they should be retained in the closed container until all cinders have thoroughly cooled.

MAINTENANCE

NOTE: Failure to maintain or properly use this appliance may cause a house fire.       At the beginning of each heating season this appliance, the connector pipe, and chimney should be inspected to see that it is in good working condition.

Prevent Soot and Creosote Fires:

When coal is burned, the products of combustion combine with moisture to form a soot residue, which accumulates on the flue lining. When ignited, this soot makes an extremely hot fire. When wood is burned it produces tar and other organic vapors, which combine with expelled moisture to form creosote. The creosote vapors condense in the relatively cool chimney flue of a slow-burning fire. As a result, creosote residue accumulates on the flue lining. When ignited this creosote makes an extremely hot fire. Chimney connector and chimney should be inspected at least once every two months during operation to determine if a build up has occurred. If buildup has occurred it must be removed with chimney cleaning chemicals and a chimney brush or contact a local chimney sweep.

Blowers:

If your unit is equipped with blowers should be cleaned of dust and dirt periodically. Replace only with original blower available from your Hitzer dealer.

CAUTION: ALWAYS DISCONNECT UNIT FROM POWER SOURCE BEFORE ATTEMPTING TO SERVICE OR REPLACE ANY ELECTRICAL SYSTEM COMPONENTS

Care and replacement of glass:

Never strike the glass or slam door shut as such abuse can damage the glass and cause it to fail. Never operate your appliance with broken glass. Never attempt to clean glass when hot. Never clean glass with harsh abrasives. Replace glass only with ROBAX CERAMIC glass (30-95 5mm x 9” x 15 9/16”, 50-93 5mm x 9” x 17 7/16”) available from your Hitzer dealer. Use of any other type of glass can cause glass to fail creating a fire hazard

Should you be required to replace the glass first remove door from your stove and lay face down on a smooth solid surface. You will want to pad the surface especially if you have the optional plated door so as not to scratch the finish. Remove and save the glass retainers and screws. Carefully remove all broken glass and sealing gasket material. Install new glass using new sealing gasket material and reinstall all glass retainers and screws.

Optional gold plating;

The gold plating option is real gold. Gold is very soft. Any abrasive type cleaner or polish will destroy the finish. It is best to use a clean, soft, damp cloth or a clean, soft cloth and window cleaner to clean any of the plated parts.

Fuel storage:

Coal does not absorb moisture as much as wood so coal can be easily stored outside. It is a good idea to build a bin, in your garage, basement, shed, or even outside if you are getting your coal in bulk. This will keep coal contained and not spread out all over the floor. If stored outside it is a good idea to cover your bin with a tarp to keep out a lot of snow.  A estimate on size is a bin 4 feet wide by 8 feet long by 4 feet high will hold 3 ton or a little more of nut size anthracite coal. Bagged coal can be stored anywhere inside or out.

Other information needed may be received by contacting your local dealer or

HITZER Inc.

269 East Main Street

Berne, Ind.  46711

phone 260-589-8536

fax 260-589-3538

E-mail  hitzer@adamswells.com

www.hitzer.com